Mishawaka Fire Department

FIRE WATCH LOG

COMPLETED REPORT TO

FIREMARSHALS@MISHAWAKA.IN.GOV

ASSIGNED AREA: _____________________________________________     DATE: ____________

FIRE-WATCHER: ______________________________________________     INITIALS: ________

FIRE WATCH TIMES:   STARTED _____________________     ENDED _____________________

Fire watch personnel must perform continuous tours such that each room in their assigned area is checked at not less than 30-minute intervals. The first entry in this log must be made within 30 minutes of the start of the fire watch and every 30 minutes thereafter. Times must be recorded using the 24-hour clock and initialed. Any problems found during the fire watch must be documented (along with the time found and initialed) and reported to the head of maintenance for immediate correction.

| I certify (by my initials below) that I completed a tour of my entire assigned area at the following times: |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Time Tour Completed | Initials |  | Time Tour Completed | Initials |  | Time Tour Completed | Initials |

Problems noted during fire watch:

_________________________________________________________________________________

_________________________________________________________________________________

_________________________________________________________________________________

_________________________________________________________________________________

______________________________________________________________________________

ANY TOWN NURSING HOME

FIRE WATCH LOG EXAMPLE

ASSIGNED AREA:      Second and third floors                                                    DATE:  07/15/08

FIRE-WATCHER:      John J. Smith                                                                      INITIALS:   JJS

FIRE WATCH TIMES:   STARTED         1110 hours            ENDED    1710 hours

Fire watch personnel must perform continuous tours such that each room in their assigned area is checked at not less than 30-minute intervals. The first entry in this log must be made within 30 minutes of the start of the fire watch and every 30 minutes thereafter. Times must be recorded using the 24-hour clock and initialed. Any problems found during the fire watch must be documented (along with the time found and initialed) and reported to the head of maintenance for immediate correction.

| I certify (by my initials below) that I completed a thorough tour of my entire assigned area at the following times: |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Time Tour Completed | Initials |  | Time Tour Completed | Initials |  | Time Tour Completed | Initials |
| 1140 | JJS |  | 1510 | JJS |  |  |  |
| 1210 | JJS |  | 1540 | JJS |  |  |  |
| 1240 | JJS |  | 1610 | JJS |  |  |  |
| 1310 | JJS |  | 1640 | JJS |  |  |  |
| 1340 | JJS |  | 1710 | JJS |  |  |  |
| 1410 | JJS |  |  |  |  |  |  |
| 1440 | JJS |  |  |  |  |  |  |

Problems noted during fire watch:

(1117) Soiled utility room door wedged open, Second Floor, East Wing – wedge removed             JJS

(1128) Burned out bulb in EXIT sign, west end of Second Floor – reported to maintenance            JJS

(1436) Smoke barrier doors on Third Floor held open with chairs – chairs removed                        JJS

_________________________________________________________________________________

_________________________________________________________________________________